**Section Specifications**

**If you are providing sections already mounted on slides they must be:**

1. On frosted or twin-frosted slides. Please ensure that section is on the same side of slide as frosting
2. Thickness between:

5 -10 µm (paraffin wax)

14 -20 µm (cryosections)

1. Labelled as in fig.1, using Pencil NOT ink NOT diamond pen
2. Space between sections /tissue ( if more than one section per slide)
3. Be mounted as in fig.2

**We will need to know?**

1. Details of any fixation that has been done / no fixation
2. What treatment tissue has had prior cryostating, if applicable

**If we are generating sections from tissue blocks they will be:**

1. On frosted slides
2. Thickness between:

5 -10 µm (paraffin wax)

14 -20 µm (cryosections)

1. Labelled as in fig.1, using Pencil
2. Space between sections /tissue ( if more than one section per slide)
3. Be mounted optimally as in fig.2

 